SRS Review Agent

Use Case ROI & Prioritization

Working draft v2.0  •  March 2026

Owner: Product Management

Audience: PM, AI Architect, regulatory/quality consultants, advisors, future team members

Regulatory scope: EU MDR 2017/745  •  FDA 21 CFR 820 / QMS Regulation

How to use this document

Decision-makers: read Sections 1, 2, 6, 7. AI architect scoping a release: read sections 3, 4, and the relevant use case in section 5. Regulatory/quality consultants: sections 2, 4, 8. New team members: read in full. To challenge a score: go to section 4, identify the parameter, change the assumption, and re-run the formula.

Glossary of key terms

All terms are defined here for reference. Terms also appear as callout boxes on first use within the document.

| Term | Definition |
| --- | --- |
| SaMD | Software as a Medical Device. Software that performs a medical function without being part of a hardware medical device. Subject to regulatory oversight in all major markets. |
| SRS | Software Requirements Specification. The controlled document defining what the software must do. Central artifact in the IEC 62304 software lifecycle. |
| Regulatory reviewer | The authority assessing a submission or change. In the EU: a Notified Body (NB) — an accredited third-party organisation. In the US: the FDA. Other markets have equivalent national authorities. |
| Submission | A formal application to a regulatory authority to place a device on the market or register a significant change. Examples: 510(k) or De Novo (FDA); CE marking application under MDR (EU). |
| Significant change | A change that, under applicable regulations, requires a new or updated submission before implementation. Criteria differ by jurisdiction. |
| Deficiency / deficiency round | When a regulatory reviewer identifies gaps in a submission, they issue a list of deficiencies. Each round adds cost and delay. Known as an 'additional information request' at FDA; 'list of outstanding issues' at EU notified bodies. |
| Technical File / DHF | Technical File (EU MDR) or Design History File (FDA): the complete record of evidence supporting the device. Must remain current throughout the lifecycle. |
| IEC 62304 | International standard for the software lifecycle of medical device software. Defines requirements for development, testing, maintenance, and change management. |
| ISO 14971 | International standard for risk management for medical devices. Defines the process for identifying hazards, estimating risks, and implementing risk controls. |
| Risk control | A measure reducing the probability or severity of a harm. Risk controls must be implemented as verifiable requirements in the SRS and traced throughout the technical file. |
| MDR | EU Medical Device Regulation 2017/745. Primary EU regulatory framework for medical devices. |
| FDA | US Food and Drug Administration. US federal agency regulating medical devices. |
| PCCP / Article 83 | Predetermined Change Control Plan (FDA) or Article 83 of the EU AI Act (EU). Mechanisms allowing manufacturers of AI/ML devices to pre-specify types of changes that do not require a new submission. |
| OWASP / ASVS | Open Web Application Security Project / Application Security Verification Standard. Freely available framework of security requirements for assessing software security. |
| IEC 81001-5-1 | International standard for cybersecurity activities in the health software lifecycle. Referenced in both FDA cybersecurity guidance and EU MDR Annex I. |
| QMS | Quality Management System. The processes, procedures, and controls ensuring consistent product quality and regulatory compliance. Often aligned with ISO 13485. |
| RAG | Retrieval-Augmented Generation. An AI architecture in which a language model retrieves relevant context from a document index before generating a response. Used in this agent to provide citation-backed findings. |
| RICE | A product prioritisation framework (Reach × Impact × Confidence / Effort). Adapted in this document — see section 3. |
| V-model | A software development model where each development phase has a corresponding verification or validation phase. Standard in regulated medical device development. |
| PRRC | Person Responsible for Regulatory Compliance. A mandatory role under EU MDR Article 15, responsible for ensuring regulatory obligations are met. |

1. Purpose and how to use this document

This document answers one question clearly: which use cases of the SRS Review Agent should be built first, and why?

It is addressed to anyone who joins this project — whether as a technical contributor, a regulatory consultant, an advisor, or a new team member. No prior context is assumed. The document stands alone.

It serves three related purposes. First, it documents the reasoning behind the release roadmap so that decisions are traceable rather than implicit. Second, it provides a structured basis for challenging estimates. Third, it gives the AI Architect a concrete input for scoping each release.

| If you are | Read |
| --- | --- |
| A decision-maker reviewing the roadmap | Sections 1, 2, 6, and 7 |
| An AI Architect scoping a release | Sections 3, 4, and the relevant use case in section 5 |
| A regulatory or quality consultant | Sections 2, 4, and 8 |
| A new team member | The full document in order |

How to challenge this document

The scores are estimates built on explicit assumptions. Every assumption is named in Section 4. If a figure seems wrong, identify which parameter you would change, by how much, and why — then re-run the formula from section 3. The roadmap may shift with the scores. That is the intended behaviour.

2. Context and framing

What the SRS Review Agent is

The SRS Review Agent is an AI decision-support tool that integrates into the document management and change control workflow of a SaMD team. When an SRS or related controlled document is modified, the agent analyses the change against applicable regulatory standards, generates proposed findings with citations, and routes them to the relevant document owner for review and disposition.

Key term — SaMD

Software as a Medical Device. Software that performs a medical function without being part of a hardware medical device. Subject to regulatory oversight in all major markets — including EU MDR, US FDA, Health Canada, TGA (Australia), and others.

All findings are non-binding. Human reviewers retain full accountability for all regulatory decisions.

Regulatory applicability

This document and all use cases it describes are applicable to both the EU regulatory framework (MDR 2017/745, harmonised standards IEC 62304 and ISO 14971) and the US regulatory framework (FDA Quality Management System Regulation, 21 CFR Part 820, FDA guidance on software functions and AI/ML-enabled devices).

Jurisdictional scope

Where requirements differ between EU and US, both are named explicitly. Where they are substantively equivalent, jurisdiction-neutral language is used. The underlying problem — manual, error-prone change impact assessment across controlled documents — is identical in both frameworks. The cost of getting it wrong is comparable in magnitude in both markets.

Two phases of ROI

The value delivered by this agent differs materially depending on whether a team is in initial development (building and submitting a device for the first time) or ongoing maintenance (managing changes to an approved device). Both phases are analysed throughout this document.

Phase 1 — Initial development and first submission

During initial development, the primary risk is submitting a technical file or design history file that contains gaps: requirements that do not trace to risk controls, risk controls not implemented in the SRS, missing security requirements, or clinical performance claims that exceed what the SRS supports.

| Gap discovered when? | Typical cost |
| --- | --- |
| Internally during design review (before submission) | 5–20k€ per significant gap (rework + review + knock-on V&V effects) |
| By the regulatory reviewer during submission assessment | 10–40k€ per deficiency round + 4–12 weeks delay per round |
| Multiple deficiency rounds | 50–100k€ total cost when internal and external resources are included |

The agent’s value in Phase 1: catching gaps before they reach the regulatory reviewer. The earlier a gap is detected, the cheaper it is to fix.

Phase 2 — Ongoing maintenance and change management

After first approval, every change to the device — software updates, new integrations, algorithm modifications, security patches — must be assessed for regulatory impact. This is a recurring cost for the device lifetime.

| Risk | Consequence |
| --- | --- |
| Change under-assessed (significant change not identified) | Regulatory enforcement risk if implemented without required submission |
| Change over-assessed (non-significant treated as significant) | Unnecessary submission effort; delay |
| Routine change documentation (non-significant) | 8–43 hours of expert time per moderate change across 4–6 roles |

The agent’s value in Phase 2: reducing manual effort per change and improving consistency of impact assessments.

Why LLM operating cost is not the constraint

The cost of running a language model to analyse an SRS change is in the order of cents per query. At the scale of a typical SaMD portfolio, annual LLM operating cost remains well below 1,000€. Expert staff time for equivalent manual analysis is 100–200€ per hour. The ROI of automation is dominated by staff time and regulatory risk avoidance, not by infrastructure cost.

3. Scoring methodology

Why standard RICE does not fit

Standard RICE was designed for consumer product features where the primary value driver is user volume. For this product, the user base is small and fixed. The value driver is not how many people use a feature but how much regulatory cost the feature prevents.

The adapted formula

Reach is replaced by Risk Savings — a parameter capturing regulatory cost avoidance potential:

RICE Score = (Risk Savings × Impact × Confidence) / Effort

Scores are multiplied by 10 for display readability. The result is a relative priority index within this product, not an absolute measure of value.

| Parameter | Scale | What it measures |
| --- | --- | --- |
| Risk Savings | 1–5 | Potential to reduce regulatory cost: deficiency rounds, unplanned submissions, inspection findings |
| Impact | 1–5 | Combined value of time saved for the team and quality of findings delivered to document owners |
| Confidence | 0.5–1.0 | How certain we are that the estimates are accurate given current knowledge |
| Effort | 1–5 | Build complexity (1 = simple; 5 = highly complex). Higher effort reduces the score. |

Worked example

UC1 (SRS monitoring): Risk Savings = 4, Impact = 4, Confidence = 0.9, Effort = 2

Score = (4 × 4 × 0.9) / 2 = 7.2 → 72

UC4 (AI/ML change control plan): Risk Savings = 5, Impact = 3, Confidence = 0.6, Effort = 4

Score = (5 × 3 × 0.6) / 4 = 2.25 → 23

UC4 has higher Risk Savings than UC1, but lower confidence and higher effort reduce its priority significantly. This is intentional.

What the formula does not capture

Strategic dependencies between use cases. UC1 is a prerequisite for UC3, UC2, and UC5 — they cannot function without it. This dependency structure is captured in the roadmap (section 7), not the scores. Similar RICE scores do not imply that use cases can be built in any order.

4. Parameter reference

This is the challenge zone

If any score seems wrong, identify the parameter you would change, the assumption behind it, and your proposed alternative. Re-run the formula. The roadmap will follow.

Risk Savings (1–5)

What it represents: Expected reduction in regulatory cost. A score of 5 means the use case directly prevents high-cost events (unplanned submissions, major deficiency rounds). A score of 1 means operational improvement only.

How it was estimated: Based on the probability that a missed finding triggers a regulatory reviewer deficiency, multiplied by the typical cost of one additional review round. Costs are comparable in EU and US regulatory processes. Sources: SaMD compliance cost industry benchmarks, EU MDR and FDA change control guidance, OpenRegulatory technical file template analysis.

Key assumption: Baseline 20–40% probability of reviewer questions on a moderate change falls to 5–15% with systematic AI-assisted review. If your historical deficiency rate is below 20%, reduce all Risk Savings scores proportionally.

| Score | Meaning |
| --- | --- |
| 5 | Directly prevents unplanned submissions or major deficiency rounds (15–80k€ per event) |
| 4 | Reduces deficiency probability significantly; prevents 5–15k€ rework per event |
| 3 | Reduces minor reviewer questions; prevents 1–5k€ rework per event |
| 2 | Improves traceability quality; indirect regulatory benefit |
| 1 | Operational efficiency only; no direct regulatory cost avoidance |

Impact (1–5)

What it represents: Combined value of time saved per event and quality of findings output. Score of 5 = saves 8+ hours per event with actionable, well-cited findings. Score of 1 = minimal time saving or low output quality.

How it was estimated: Based on time-and-motion analysis of SaMD change control workflows (OpenRegulatory SOP template baseline: 8–43 hours per moderate change across 4–6 roles). Blended hourly rate: 130€ (loaded cost for senior regulatory, risk, and quality staff in Western European or comparable markets).

Key assumption: The agent achieves 30–60% automation of manual triage and document-update identification.

Confidence (0.5–1.0)

What it represents: Certainty that benefit estimates will materialise. Score of 1.0 = well-understood use case, reference data exists, technical approach proven. Score of 0.5 = significant unknowns remain.

How it was estimated: Three factors: (a) maturity of reference standards for this domain, (b) availability of structured test data, (c) degree to which the technical approach has been validated.

Key assumption: Confidence scores should be updated after the initial release using actual finding acceptance rates as calibration data.

Effort (1–5)

What it represents: Build complexity from the AI Architect’s perspective. Score of 1 = reuses existing infrastructure, implementable quickly. Score of 5 = significant new architecture required.

How it was estimated: Based on technical dependency assessment, reference corpus availability, and output format complexity.

Key assumption: Effort scores assume a single AI Architect working part-time. A dedicated full-time Architect reduces effective effort by approximately one point across all use cases.

5. Use case analysis

Phase structure

Each use case includes separate ROI estimates for Phase 1 (initial development and first submission) and Phase 2 (ongoing maintenance). Teams deploying the agent during initial development benefit from both phases throughout the roadmap.

Technology neutrality

Trigger mechanisms described below are intentionally technology-agnostic. 'Change event,' 'workflow trigger,' and 'documentation platform' refer to whatever version control, document management, or workflow system the team uses. Illustrative examples are provided but no specific technology is required.

| UC1 — Continuous SRS monitoring and change classification | Initial release |
| --- | --- |

One-line description: Detect every SRS change event, classify the change type, and route findings to the appropriate document owner.

What triggers it: A change event on any SRS document — a new version submitted for review, a modification to an approved requirement, or a status transition (draft → review → approved). The agent monitors the document management platform for these events and initiates analysis automatically.

Illustrative example (not prescriptive)

In a version-controlled workflow, the trigger might be a new review request on an SRS file. In a document management system, the trigger might be a workflow state change. In a manual process, the trigger might be a submitted change request form. The specific mechanism depends on the team’s tooling.

Who receives the output: The SRS owner (classified change summary) and relevant document owners (risk engineer, UX/human factors specialist, cybersecurity engineer, clinical affairs) based on detected change types.

RICE scores

| Risk savings | Impact | Confidence | Effort | RICE score |
| --- | --- | --- | --- | --- |
| 4/5 | 4/5 | 0.9 | 2/5 | 72 |

Benefit breakdown

| Phase 1 — Initial development |  |
| --- | --- |
| Typical events | 30–80 SRS creation/update events during initial development |
| Time saved per event | 0.5–2 hours of manual classification and routing |
| Total time saving | 15–160 hours = 2,000–20,800€ |
| Regulatory cost avoided | 5–15k€ (systematic classification reduces gaps reaching first submission) |

| Phase 2 — Ongoing maintenance |  |
| --- | --- |
| Annual events per product | 20–40 SRS change events per year |
| Time saved per event | 1–3 hours of manual change triage |
| Annual time saving | 20–120 hours = 2,600–15,600€ |
| Regulatory cost avoided | 5–10k€ per year (reduced deficiency probability) |
| LLM operating cost | ~0.01–0.05€ per query — negligible in both phases |

Key assumptions

- 20–40 annual events calibrated against an actively developed SaMD with multiple integrations. Less active products: 8–15 events/year.

- Change classifier achieves 85%+ precision using the structured requirements mapping and established document identifier conventions.

- Phase 1 event count assumes a new product. For a product being migrated mid-development, events will be lower.

Dependencies and risks

This is the foundation use case. UC2, UC3, UC5, and UC4 all depend on UC1’s classifier output. The primary technical risk is false-positive classification — flagging non-safety-relevant changes for risk manager review creates noise and will reduce adoption if not controlled. A precision threshold should be agreed before deployment.

Rationale for initial release placement

UC1 has the lowest build effort (2/5) because the change detection and classification mechanism reuses the document ingestion infrastructure already scoped in the product requirements. Building UC1 first creates a working loop — detect, classify, notify — from which all subsequent releases extend without architectural rework.

| UC3 — Risk traceability check (risk control to SRS gap detection) | Initial release |
| --- | --- |

One-line description: For every SRS change classified as safety-relevant, verify that every risk control measure in the risk management file still has a corresponding SRS requirement, and flag gaps or broken links.

Key term — Risk control

A measure taken to reduce the probability or severity of a harm. Under ISO 14971 (applicable in both EU MDR and FDA regulatory contexts), risk controls must be implemented as verifiable requirements in the SRS, and this traceability must be maintained and documented throughout the product lifecycle.

What triggers it: UC1 classifies a change as ‘risk/safety’ or ‘clinical.’ The traceability resolver queries the risk-to-SRS traceability table against the current SRS to identify risk control links that are missing, broken, or newly unverifiable.

Who receives the output: The Risk/Safety Engineer. Finding format: hazard identifier, risk control identifier, expected SRS requirement identifier, finding type (missing / modified / ambiguous), citation to ISO 14971 section 7.3.3 (applicable in both EU and US regulatory contexts).

RICE scores

| Risk savings | Impact | Confidence | Effort | RICE score |
| --- | --- | --- | --- | --- |
| 5/5 | 4/5 | 0.85 | 2/5 | 85 |

Benefit breakdown

| Phase 1 — Initial development |  |
| --- | --- |
| Typical events | All safety-relevant SRS changes during development (typically 15–30% of all SRS events) |
| Time saved per event | 2–6 hours of manual risk file cross-check |
| Total time saving | 20–100 hours = 2,600–13,000€ |
| Regulatory cost avoided | 15–40k€ (broken traceability at first submission is among the most common deficiency causes in both EU and US markets) |

| Phase 2 — Ongoing maintenance |  |
| --- | --- |
| Annual events per product | 8–20 safety-relevant changes per year |
| Time saved per event | 3–8 hours of manual risk file cross-check |
| Annual time saving | 24–160 hours = 3,100–20,800€ |
| Regulatory cost avoided | 15–40k€ per avoided major deficiency round |
| LLM operating cost | Negligible |

Dual-market multiplier

For products submitted simultaneously to EU and US markets, catching a traceability gap before filing prevents a deficiency in both markets simultaneously. The avoided cost is additive — one finding can prevent two deficiency rounds.

Key assumptions

- The risk-to-SRS traceability table must be maintained by the Risk Engineer as a controlled document. Stale reference data generates false negatives.

- 15–40k€ cost avoidance assumes a moderately complex SaMD where a major deficiency round costs 50–100k€ total, and where poor traceability increases deficiency probability by 15–25%.

Dependencies and risks

Depends on UC1. Also depends on the risk management file existing in a structured, machine-readable format. If the risk management file is maintained in a proprietary quality management system tool rather than a structured document format, an integration layer will be required — additional effort that should be clarified with the AI Architect before the initial release.

Rationale for initial release placement

UC3 delivers the highest regulatory value (Risk Savings: 5/5) and shares the same infrastructure as UC1. It directly addresses the core product insight: comparing the SRS against a risk control model and verifying traceability. The initial release already demonstrates the full monitoring → classification → traceability → finding workflow — the value proposition that matters most to regulatory and quality reviewers.

| UC2 — Baseline document to SRS suggestions | Release 2 |
| --- | --- |

One-line description: When a regulatory document is baselined or approved, automatically generate suggested SRS requirements that should exist to support the document’s scope.

Key term — Baseline

A formally approved version of a controlled document, establishing a reference point for subsequent changes. Under IEC 62304 and both EU MDR and FDA quality system regulations, baselines must be maintained and changes tracked with documented rationale.

What triggers it: A document owner marks a document as approved or baselined in the document management platform. The baseline intake module parses the document, extracts requirements and controls, and maps them against the SRS traceability model to generate suggestions.

Who receives the output: The SRS owner receives proposed SRS additions or updates, with citations to the source document and relevant standard clauses.

RICE scores

| Risk savings | Impact | Confidence | Effort | RICE score |
| --- | --- | --- | --- | --- |
| 3/5 | 4/5 | 0.75 | 3/5 | 30 |

Benefit breakdown

| Phase 1 — Initial development |  |
| --- | --- |
| Typical events | 3–6 initial baselines during product development (risk management plan, preliminary hazard analysis, usability plan, clinical evaluation plan) |
| Time saved per event | 8–20 hours of initial SRS mapping against each baseline |
| Total time saving | 24–120 hours = 3,100–15,600€ |
| Regulatory cost avoided | 10–25k€ (preventing requirement gaps before first submission) |

| Phase 2 — Ongoing maintenance |  |
| --- | --- |
| Annual events per product | 1–3 document baselines updated per year |
| Time saved per event | 2–8 hours (incremental update) |
| Annual time saving | 2–24 hours = 260–3,100€ |
| Regulatory cost avoided | 5–15k€ per year |
| LLM operating cost | Negligible |

Key assumptions

- Primary Phase 1 benefit: all regulatory documents being baselined for the first time. For a mature product, per-event Phase 2 benefit is lower.

- Quality of suggestions depends on document structure. Structured documents with explicit control identifiers generate precise, traceable suggestions; narrative-style documents generate less specific ones.

Rationale for Release 2 placement

Requires additional infrastructure beyond the core UC1/UC3 loop: a baseline intake parser handling multiple document types, and an owner notification routing system. Deferring to Release 2 allows validation of the core approach first.

| UC5 — Cybersecurity change impact (IEC 81001-5-1 / OWASP ASVS) | Release 2 |
| --- | --- |

One-line description: When an SRS change introduces or modifies interfaces, data flows, authentication, or encryption requirements, verify coverage against IEC 81001-5-1 controls and OWASP ASVS requirements.

Key term — IEC 81001-5-1

International standard for cybersecurity activities throughout the health software lifecycle. Referenced in FDA pre-market cybersecurity guidance (updated 2026) and required under EU MDR Annex I General Safety and Performance Requirements for networked and connected devices. Applicable in both regulatory contexts.

What triggers it: UC1 classifies a change as ‘security/data flows.’ The cybersecurity sub-check queries the OWASP ASVS structured checklist and IEC 81001-5-1 clause summaries and cross-checks against the threat model document.

Who receives the output: The Cybersecurity Engineer receives findings identifying interfaces or data flows lacking corresponding security requirements, with citations to OWASP ASVS sections and IEC 81001-5-1 clauses.

RICE scores

| Risk savings | Impact | Confidence | Effort | RICE score |
| --- | --- | --- | --- | --- |
| 3/5 | 3/5 | 0.70 | 3/5 | 21 |

Benefit breakdown

| Phase 1 — Initial development |  |
| --- | --- |
| Typical events | 5–15 SRS changes touching interfaces or security requirements during development |
| Time saved per event | 2–5 hours of manual security requirement cross-check |
| Total time saving | 10–75 hours = 1,300–9,750€ |
| Regulatory cost avoided | 8–20k€ (cybersecurity gaps are a growing deficiency source under both FDA guidance and EU MDR Annex I) |

| Phase 2 — Ongoing maintenance |  |
| --- | --- |
| Annual events per product | 2–8 security-relevant SRS changes per year |
| Time saved per event | 3–8 hours |
| Annual time saving | 6–64 hours = 780–8,300€ |
| Regulatory cost avoided | 5–10k€ per year |
| LLM operating cost | Negligible |

Key assumptions

- OWASP ASVS is freely available and can be incorporated without licensing restrictions. IEC 81001-5-1 reference corpus will be built from clause summaries and publicly available mapping tables rather than the full normative text (paid standard).

- A structured threat model document must exist in machine-readable format. If not, a parsing step is required — additional effort to be clarified with the AI Architect before Release 2 scoping.

Rationale for Release 2 placement

Cybersecurity is an increasing regulatory priority in both markets, but the reference corpus quality and threat model dependency make it more complex than UC1/UC3. Release 2 placement allows classifier precision to be validated first.

| UC4 — AI/ML behaviour and change control plan boundary check | Release 3 |
| --- | --- |

One-line description: When an SRS change modifies algorithm behaviour, model inputs/outputs, or clinical performance claims, verify whether the change remains within the approved change control plan boundaries or triggers a new regulatory submission.

Key term — Change control plan (PCCP / Article 83)

A mechanism allowing manufacturers of AI/ML-enabled devices to pre-specify types of algorithm changes that do not require a new submission. In the US: FDA Predetermined Change Control Plan (PCCP). In the EU: Article 83 of the EU AI Act, applicable alongside EU MDR for AI-enabled medical devices. Changes outside the approved plan require a new regulatory assessment in both frameworks.

What triggers it: UC1 classifies a change as ‘AI/ML behaviour.’ The change control checker compares the SRS delta against the approved change control plan to determine: within bounds (no new submission required), exceeds bounds (submission required), or ambiguous (human review required).

Who receives the output: The AI/ML Engineer and Regulatory Affairs specialist jointly receive: change description, change control plan section reference, boundary status, and recommended action.

RICE scores

| Risk savings | Impact | Confidence | Effort | RICE score |
| --- | --- | --- | --- | --- |
| 5/5 | 3/5 | 0.60 | 4/5 | 23 |

Benefit breakdown

| Phase 1 — Initial development |  |
| --- | --- |
| Typical events | 3–8 AI/ML algorithm definition events during initial SRS development |
| Time saved per event | 3–10 hours of manual change control plan boundary definition review |
| Total time saving | 9–80 hours = 1,200–10,400€ |
| Regulatory cost avoided | 10–30k€ (correctly scoping the initial change control plan prevents out-of-bounds implementation in early post-market releases) |

| Phase 2 — Ongoing maintenance |  |
| --- | --- |
| Annual events per product | 2–10 AI/ML model updates per year |
| Time saved per event | 5–15 hours of manual boundary analysis |
| Annual time saving | 10–150 hours = 1,300–19,500€ |
| Regulatory cost avoided | ~43k€ average per avoided unplanned submission (applicable in both EU and US: out-of-bounds change triggers 510(k)/PMA supplement in the US or significant change assessment under EU MDR Article 83) |
| LLM operating cost | Negligible |

Key assumptions

- Change control plan document structure varies significantly by product and jurisdiction. This is the primary reason for the low confidence score (0.60).

- 43k€ = cost of unplanned submission (50–200k€ total) discounted by ~60–70% detection probability for systematic vs. informal review.

- FDA PCCP guidance and EU AI Act Article 83 implementing framework were both still developing as of early 2026. Confidence score should be re-evaluated when guidance matures.

Dependencies and risks

Depends on UC1, UC3, and a stable document analysis pipeline. Primary risk: change control plan documents are typically narrative prose, making automated boundary checking unreliable without a purpose-built document parser. This parser is an additional build item not reflected in the current Effort score of 4 — must be scoped with the AI Architect before Release 3.

Rationale for Release 3 placement

Despite the highest potential regulatory cost avoidance (Risk Savings: 5/5), UC4 is Release 3 because of low confidence and high effort. The regulatory guidance for AI/ML change control plans in both EU and US markets was still maturing as of early 2026. The empirical data from UC1–UC5 will calibrate the classifier precision needed to make UC4 reliable.

| UC6 — Regulatory inspection and submission preparation | Later |
| --- | --- |

One-line description: Aggregate findings history, disposition rationales, traceability links, and document change log to produce a structured audit readiness summary package applicable for EU MDR notified body audits and FDA inspections or pre-market submissions.

Key term — Technical File / Design History File (DHF)

Technical File (EU MDR) or Design History File (FDA 21 CFR 820). The complete record of evidence demonstrating that a device meets applicable requirements. Both regulatory frameworks require this file to be current, traceable, and available for inspection at any time.

What triggers it: A manual request from the Regulatory Affairs specialist or Quality Manager, typically 4–8 weeks before a planned inspection, audit, or submission deadline.

Who receives the output: The Regulatory Affairs specialist receives: open findings with time elapsed, disposition rationale summary by document area, traceability gap summary, and outstanding items checklist mapped to the applicable framework (EU MDR Annex II/III or FDA 21 CFR 820 design controls, as selected).

RICE scores

| Risk savings | Impact | Confidence | Effort | RICE score |
| --- | --- | --- | --- | --- |
| 3/5 | 3/5 | 0.55 | 5/5 | 10 |

Benefit breakdown

| Phase 1 — Initial development |  |
| --- | --- |
| Typical events | 1–2 pre-submission readiness checks before first filing |
| Time saved per event | 15–40 hours of manual traceability consolidation |
| Total time saving | 15–80 hours = 2,000–10,400€ |
| Regulatory cost avoided | 10–30k€ (pre-submission gap analysis reduces deficiencies at first review) |

| Phase 2 — Ongoing maintenance |  |
| --- | --- |
| Annual events per product | 0.5–1 major audit or submission per year |
| Time saved per event | 10–30 hours of manual preparation |
| Annual time saving | 5–30 hours = 650–3,900€ |
| Regulatory cost avoided | 10–20k€ per year |
| LLM operating cost | Negligible |

Key assumptions

- UC6 is a reporting layer on top of all previous use cases. Its value depends entirely on the findings history quality from UC1–UC5. Minimum 6 months of production operation required for meaningful output.

- Output format requirements vary by notified body and FDA review division. Significant customisation may be required per submission.

Rationale for ‘Later’ placement

‘Later’ does not mean ‘never.’ UC6 cannot be built or validated until the product has been running long enough to generate meaningful findings history. A team using UC1–UC5 consistently for 6–12 months will have exactly the data needed to make UC6 genuinely useful.

6. Comparative view

| Use case | Risk savings | Impact | Confidence | Effort | Score | Phase 1 saving | Phase 2/yr saving | Tier |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| UC3 Risk traceability | 5/5 | 4/5 | 0.85 | 2/5 | 85 | 20–100 h | 24–160 h/yr | Initial |
| UC1 SRS monitoring | 4/5 | 4/5 | 0.90 | 2/5 | 72 | 15–160 h | 20–120 h/yr | Initial |
| UC2 Baseline → SRS | 3/5 | 4/5 | 0.75 | 3/5 | 30 | 24–120 h | 2–24 h/yr | Release 2 |
| UC4 Change control plan | 5/5 | 3/5 | 0.60 | 4/5 | 23 | 9–80 h | 10–150 h/yr | Release 3 |
| UC5 Cybersecurity | 3/5 | 3/5 | 0.70 | 3/5 | 21 | 10–75 h | 6–64 h/yr | Release 2 |
| UC6 Inspection prep | 3/5 | 3/5 | 0.55 | 5/5 | 10 | 15–80 h | 5–30 h/yr | Later |

Why the ranking is what it is

UC3 scores highest despite not being the most visible use case. Broken traceability between risk controls and SRS requirements is consistently the most common cause of deficiency rounds in SaMD submissions — cited repeatedly in both EU MDR notified body findings and FDA additional information requests. It is also cheap to build (Effort: 2/5).

UC4 has a Risk Savings score of 5 — matching UC3 — but its RICE score is much lower because the AI/ML change control plan guidance is still maturing in both markets, and the document parsing challenge is significant. Building UC4 before the foundation is proven would be premature.

Dual-jurisdiction note

All six use cases apply to both EU MDR and FDA-regulated products. The specific standard clauses cited in findings differ by jurisdiction (ISO 14971:2019 section 7.3.3 vs. FDA 21 CFR 820.30 design input traceability) but the underlying gap detected is identical. For products submitting to both markets, the avoided cost estimates can be applied additively where the same gap would have caused deficiencies in both.

7. Roadmap recommendation

| Release | Use cases | Rationale |
| --- | --- | --- |
| Initial release | UC1 + UC3 (build together) | Shared infrastructure; delivers the full detection → classification → traceability → finding workflow. Applicable to both EU and US regulatory contexts from day one. |
| Release 2 | UC2 + UC5 (parallel or sequential) | Both extend initial release infrastructure without requiring new core architecture. UC2 first if sequential, as it reuses more of the existing pipeline. |
| Release 3 | UC4 | Requires stable pipeline, validated classifier precision, and clearer regulatory guidance on AI/ML change control plans in both jurisdictions. |
| Later | UC6 | Requires 6+ months of production findings data and a specific submission or audit target to optimise for. |

Dependency chain

UC1 (foundation) → UC3 (same release) → UC2 / UC5 (Release 2) → UC4 (Release 3) → UC6 (Later)

Phase interaction with the roadmap

The initial release (UC1 + UC3) delivers value in both Phase 1 and Phase 2, making it suitable as the starting point whether the team is building a new product or managing an existing one. Teams deploying the agent during initial development benefit from Phase 1 gap prevention through the full release roadmap. Teams deploying to an existing product primarily benefit from Phase 2 change management efficiency.

What the AI Architect must validate before each release

- Before initial release: confirm that change detection, SRS parsing, and document retrieval handle the structured test corpus correctly, and that the classifier achieves 85%+ precision on UC1/UC3 test scenarios.

- Before Release 2: confirm threat model document format for UC5 (parser needed?); confirm baseline intake document format for UC2.

- Before Release 3: re-evaluate AI/ML change control plan guidance in EU (AI Act Article 83 implementing acts) and US (FDA AI/ML SaMD lifecycle guidance). Agree a structured document format for the agent to work with.

8. Assumptions and limitations

What this model does not include

- Time-to-market acceleration value (faster, more confident submissions create competitive advantage in both markets).

- Knowledge retention value (institutional knowledge about which SRS changes affect which documents is currently held by individuals, not systems).

- Onboarding cost for new regulatory/quality staff without documented traceability context.

- Compounding effect of dual-market submissions: for products filing simultaneously to EU and US, a single traceability gap caught by the agent prevents a deficiency in both markets. Avoided cost is additive, not duplicated.

Data quality

Benchmarks are calibrated against two reference points: the OpenRegulatory technical file template for a Class B / Class II equivalent SaMD, and analysis of a complex multi-integration SaMD product active in both FDA and EU markets. These are representative but not universal. Teams on simpler products should use the lower end of all ranges; teams on Class III / PMA-level products should consider the upper end or beyond.

These are order-of-magnitude estimates

The figures in this document are calibrated against industry benchmarks, not your specific product’s historical data (which does not yet exist). Replace them with actuals as soon as measurement data is available.

Regulatory environment

| Item to monitor | Why it matters |
| --- | --- |
| EU AI Act — full enforcement August 2026 | If the agent itself (not the SaMD it supports) is classified as high-risk AI under the AI Act, additional transparency, logging, and documentation obligations apply to the agent’s own development. |
| FDA AI/ML SaMD lifecycle guidance — in draft early 2026 | Finalisation will affect Confidence and Risk Savings scores for UC4. |
| FDA cybersecurity guidance — updated 2026 | Increases specificity of security requirements for connected devices, strengthening the case for UC5. |

9. How to update this document

Update triggers

This document should be updated at defined trigger points, not continuously. Every update should be version-controlled with a clear change record.

- After initial release: update Confidence scores for UC2, UC4, and UC5 based on actual UC1/UC3 finding acceptance rates. If acceptance rate < 70%, reduce all Confidence scores by 0.1. If > 85%, increase by 0.1.

- After Release 2: update UC4’s Effort score based on AI Architect’s assessment of change control plan document variability encountered during UC5 implementation.

- After major regulatory guidance update (FDA AI/ML finalisation; EU AI Act implementing acts): review Risk Savings scores for UC4 and UC5.

- After 6 months of production data: replace Phase 2 time-saving estimates with actuals from real finding events.

Parameter ownership

| Parameter | Owner | Update trigger |
| --- | --- | --- |
| Risk Savings | Regulatory Affairs / PM | Major guidance change or new product risk class in either jurisdiction |
| Impact | PM (with regulatory input) | After each release, based on document owner feedback |
| Confidence | PM + AI Architect jointly | After each release, based on empirical acceptance rate data |
| Effort | AI Architect | Before each release scoping session |

This document is version-controlled in the product repository under docs/use-case-roi-prioritization.md. Challenges to scores and parameters should be raised as tracked issues in the project backlog with the label type:doc and assigned to the PM for triage.